Introduction
This document shows how to install and use the EDS file for the Prolinx-DFNT products. 

Installing The .EDS file with RSLinx:

1 ) Click on RSLinx Tools -> EDS Hardware Installation Tool

2) Click on the Add button.

3) Select Single File and Browse the .EDS file in your computer. Make sure that the same folder contains the .ICO file (Prolinx ICON). Click on the Next button.

4) Select the file once it was evaluated for errors and click on the Next button.

5) This window displays how the module will be displayed. Click on the Next button

6) The following window allows the user to review the configuration.

7) The procedure is concluded. Click the Finish button.

8) Click the Exit button to quit the Hardware Installation Tool.

Browsing the module using RSLinx

1) With RSLinx running click on Configure Drivers…

2) Select Remote Devices via Linx Gateway

3) Select the RSLinx Driver name

4) Configure the IP address for the module:

5) The RSLinx shows the driver running:

6) Click on RSWho to browse the module with the ICON: